## Attribute
Order | Field label | Facet | Parent Object | MUDU | Type | 3D Type | 2D Type | 1D Type
1 | ECS | 0_General | All | RepeFonct | str | - | All | All
2 | ELEMENTARY SYSTEM | 0_General | All | ElemSys | str | - | All | All
3 | DESIGNATION | 0_General | All | LibOccur | str | - | All | All
4 | TYPE OF COMPONENT | 0_General | HVAC | ComponentKind | str | - | All | Hvac
5 | LINE REVISION | 0_General | All | LineRev | str | - | All | All
6 | CONTRACT | 1_Contract | All | Contrat | str | - | All | All
7 | MANUFACTURER | 1_Contract | HVAC | Manufact | str | - | - | Hvac
8 | ASSOCIATED MOTOR | 2_Electrical | ELECTRICAL ACTUATOR | ECS_Mtr | str | - | Valve | -
9 | ACTUATOR TYPE | 2_Electrical | HVAC | ActuRef | str | - | - | Hvac
10 | KIND OF ACTUATOR | 2_Electrical | ELECTRICAL ACTUATOR | ActuKind | str | - | Actuator;Sensor | Load;Instrum
11 | POWER SOURCE | 2_Electrical | SWITCHBOARD | PSU_ECS1 | str | - | Actuator | Load
12 | VOLTAGE | 2_Electrical | SWITCHBOARD | PSU_Volt1 | int | - | Actuator | Load
13 | COMPARTMENT ALLOCATION | 2_Electrical | SWITCHBOARD | CompartAlloc | str | - | - | Load
14 | DAMPER ACTUATOR: CLOSING TIME REQUIRED | 2_Electrical | HVAC | t_CloseReq | float | - | Actuator | Hvac
15 | VALVES/DAMPERS: FAIL-SAFE POSITION | 2_Electrical | ELECTRICAL ACTUATOR | ValvFailSfPositn | str | - | Actuator | Load

## Type
1D Type | 2D Type
All | All
Load | Actuator
Hvac | Sensor
Instrum | OtherHvac
Valve

## Facet
Name | Label
0_General | ℹ️ General
1_Contract | 💼 Contract
2_Electrical | ⚡ Electrical