## Attribute
Order | Field label | Facet | Parent Object | MUDU | Type | 3D Type | 2D Type | 1D Type
1 | ECS | 0_General | All | RepeFonct | str | - | All | All
2 | ELEMENTARY SYSTEM | 0_General | All | ElemSys | str | - | All | All
3 | TYPE OF COMPONENT | 0_General | HVAC | ComponentKind | str |  | All | Hvac
4 | LINE REVISION | 0_General | All | LineRev | str | - | All | All
5 | CONTRACT | 1_Contract | All | Contrat | str | - | All | All
6 | MANUFACTURER | 1_Contract | HVAC | Manufact | str | - | - | Hvac
7 | ASSOCIATED MOTOR | 2_Electrical | ELECTRICAL ACTUATOR | ECS_Mtr | str |  | Valve | -
8 | ACTUATOR TYPE | 2_Electrical | HVAC | ActuRef | str | - | - | Hvac
9 | KIND OF ACTUATOR | 2_Electrical | ELECTRICAL ACTUATOR | ActuKind | str |  | Actuator;Sensor | Load;Instrum
10 | POWER SOURCE | 2_Electrical | SWITCHBOARD | PSU_ECS1 | str |  | Actuator | Load
11 | VOLTAGE | 2_Electrical | SWITCHBOARD | PSU_Volt1 | int |  | Actuator | Load
12 | COMPARTMENT ALLOCATION | 2_Electrical | SWITCHBOARD | CompartAlloc | str |  | - | Load
13 | DAMPER ACTUATOR: CLOSING TIME REQUIRED | 2_Electrical | HVAC | t_CloseReq | float | - | Actuator | Hvac
14 | VALVES/DAMPERS: FAIL-SAFE POSITION | 2_Electrical | ELECTRICAL ACTUATOR | ValvFailSfPositn | str |  | Actuator | Load

## Type
1D Type | 2D Type
All | All
Load | Actuator
Hvac | Sensor
Instrum | OtherHvac
Valve

## Facet
Name | Label
0_General | ℹ️ General
1_Contract | 💼 Contract
2_Electrical | ⚡ Electrical