## Attribute
Order | Field label | Facet | Type | MUDU | 3D Type | 2D Type | 1D Type
1 | ECS | 0_General | All | RepeFonct | - | All | All
2 | ELEMENTARY SYSTEM | 0_General | All | ElemSys | - | All | All
3 | TYPE OF COMPONENT | 0_General | HVAC | ComponentKind |  | All | Hvac
4 | LINE REVISION | 0_General | All | LineRev | - | All | All
5 | LINE STATUS | 0_General | All | LineStatus | - | All | All
6 | CONTRACT | 1_Contract | All | Contrat | - | All | All
7 | MANUFACTURER | 1_Contract | HVAC | Manufact | - | - | Hvac
8 | ASSOCIATED MOTOR | 2_Electrical | ELECTRICAL ACTUATOR | ECS_Mtr |  | Valve | -
9 | ACTUATOR TYPE | 2_Electrical | HVAC | ActuRef | - | - | Hvac
10 | KIND OF ACTUATOR | 2_Electrical | ELECTRICAL ACTUATOR | ActuKind |  | Actuator;Sensor | Load;Instrum
11 | POWER SOURCE | 2_Electrical | SWITCHBOARD | PSU_ECS1 |  | Actuator | Load
12 | VOLTAGE | 2_Electrical | SWITCHBOARD | PSU_Volt1 |  | Actuator | Load
13 | COMPARTMENT ALLOCATION | 2_Electrical | SWITCHBOARD | CompartAlloc |  | - | Load
14 | DAMPER ACTUATOR: CLOSING TIME REQUIRED | 2_Electrical | HVAC | t_CloseReq | - | Actuator | Hvac
15 | VALVES/DAMPERS: FAIL-SAFE POSITION | 2_Electrical | ELECTRICAL ACTUATOR | ValvFailSfPositn |  | Actuator | Load

## Type
1D Type | 2D Type
All | All
Load | Actuator
Hvac | Sensor
Instrum | OtherHvac
Valve

## Facet
Name | Label
0_General | ℹ️ General
1_Contract | 💼 Contract
2_Electrical | ⚡ Electrical